## Spare List
Sr.No. | Material Code | Material Details | MLFB No. | Unit | Qty (01.02.24) | Used Location | Capacity | Storage Location | Type
1 | 1000227791/ 1000206658 | SINAMICS CU320 | 6SL3040-0MA00-0AA1 | PC | 8
2 | 1000252640 | VSM 10 Sinamics Voltage Sensing Module | 6SL3053-0AA00-3AA0 | PC | 3
3 | 1000253341 | SINAMICS S120 TERMINAL MODULE TM31 | 6SL3055-0AA00-3AA0 | PC | 4
4 | 1000262699 | DTI Card | 6SE7090-0XX84-3DB1 | PC | 3
6 | 1000227792 | SMC30, SINAMICS SENSOR MODULE CABINET MOUNTED | 6SL3055-0AA00-5CA2 | PC | 7 + 5 (old)
7 | 1000014336 | RELAY;SAFETY,3TK2825-1BB40 | 3TK2825-1BB40 | PC | 1
8 | 1000598797 | RELAY;SAFETY,PN:3SK1121-1AB40 | 3SK1121-1AB40 | PC | 9
9 | 1000132653 | RELAY,SAFETY,MM:3TK2821-1CB30 | 3TK2821-1CB30 | PC | 2
10 | 1000598788 | RELAY;SAFETY, 3SK1211-1BB40 | 3SK1211-1BB40 | PC | 24
11 | 1000237996 | EARTH FAULT MONITOR FOR UNDERGROUND AC AND DC SYSTEMS TO 690V - 1/N AC 230V - 3AC 0- 690V | IRDH275-435 | PC | 1
12 | 1000305807 | ENCODER; 1PH7911-1BA21-0AA0 | 1PH7911-1BA21-0AA0 | PC | 1
13 | 1000303429 | TIMER RELAY,TD;DPCO,0.15-3MIN | 3RP15051BW30 | PC | 3
14 | 1000236334 | OUTPUT INTERFACE TERMINAL CONTACT BLOCK,MM:3TX7002-1FB02 | 3TX7002-1FB02 | PC | 11
15 | 1000050339 | SUPPRESSION DIODE,GEGA,TYPE:3RT 1916-1DG00 | 3RT 1916-1DG00 | PC | 24
15A |  | AUX CIRCUIT SWITCH, 5ST3010 | 5ST3010 | PC | 9
15B | 1000014213 | AUXILIARY CIRCUIT SWITCH,1NO,1NC,TYPE:5SX9100 | 5SX9100 | PC | 5
16 | 1000237022 | OUTPUT INTERFACE TERMINAL,TWO TIER,CAT:3TX7004-1BB10 | 3TX7004-1BB10 | PC | 16
17 | 1000005129 | AUX CONTACT BLOCK, 1NO, SIEMENS | 3TX4010-2A | PC | 56
| 1000148664 | AUX CONTACT BLOCK, 1NC, SIEMENS | 3TX4001-2A | PC | 0
18 | 1000254213 | AUX CONTACT BLOCK, 1NO,S0-S3, SIEMENS | 3RH19211CA10 | PC | 23
19 | 1000005663 | AUX CONTACT BLOCK,TRANSVERSE, 1NO+1NC, SIEMENS | 3RV1901-1A | PC | 4
20 | 1000096435 | CONTACT BLOCK,TRANSVERSE, FRONT,1NO+1NC, | 3RV1901-1E | PC | 1
21 | 1000323400 | CONTACT BLOCK, 2NO+2NC, SIEMENS | 3RH2911-1HA22 | PC | 14
21A | 1000456602 | CONTACT BLOCK, 1NO+1NC SIEMENS | 3RH2911 1HA11 | PC | 2
22 | 1000097408 | AUX CONTANCTOR BLOCK, 3RH1911-1GA40, 4NO, SIEMENS | 3RH1911-1GA40 | PC | 9
23 | 1000205884 | CONTACT BLOCK,1NO+1NC,3SB54 00-0A | 3SB54 00-0A | PC | 9
26 | 1000146663 | ALLIED TRANSDUCER, CONVERTOR,1000 BASE X,PN:AT-G8SX | AT-G8SX | PC | 7
27 | 1000304458 | POWER CONNECTOR, STELMORE CONVEYOR DRIVE MOTOR MODULE | 6SL3162-2MA00-0AA0 | PC | 6
28 | 1000302300 | SURGE SUPPRESSOR, SIEMENS | 3TX7402-3RY2 | PC | 10
29 | 1000130235 | SURGE SUPPRESSOR, SIEMENS | 3TF30-35 | PC | 9
30 | 1000303112 | INDICATOR,LIGHT;PN:3SB3400-1PA30 | 3SB3400-1PA30 | PC | 10
31 |  | CABLE PN:6SL3162-8EM00-0AA0 | 6SL3162-8EM00-0AA0 | PC | 1
32 | 1000393890 | CONNECTOR;FEMALE,46X80X70MM,PN:AS591-F | AS591-F | PC | 4
33 | 1000301584 | SURGE SUPPRESSOR; PN:3RT1916-1DG00 | 3RT1916-1DG00 | PC | 24
34 | 1000405043 | IPD FOR SINAMICS SINGLE MOTOR MODULE INPUT: DC 675-1080V OUTPUT: 3AC 0-690V, 330A RATED POWER: 315KW CHASSIS | 6SL3352-3AG33-3AA0 | PC | 2
35 | 1000333128 | IPD FOR SINAMICS SINGLE MOTOR MODULE INPUT: DC 675-1080V OUTPUT: 3AC 0-690V, 575A RATED POWER: 560KW CHASSIS (ST-1,2, SH-1,2) | 6SL3352-3AG35-3AA0 | PC | 4
36 | 1000333129 | IPD FOR SINAMICS SINGLE MOTOR MODULE INPUT: DC 675-1080V OUTPUT: 3AC 0-690V, 735A RATED POWER: 710KW CHASSIS | 6SL3352-3AG37-4AA0 | PC | 7
37 | 1000333130 | IPD FOR SINAMICS SINGLE MOTOR MODULE INPUT: DC 675-1080V OUTPUT: 3AC 0-690V, 1025A RATED POWER: 1000KW CHASSIS (RSM) | 6SL3352-3AG41-0AA0 | PC | 8
38 | 1000446906 | IPD FOR SINAMICS SINGLE MOTOR MODULE INPUT: DC 675-1080V OUTPUT: 3AC 0-690V, 1270A RATED POWER: 1200KW CHASSIS | 6SL3352-3AG41-3AA0 | PC | 4
39 | 1000446909 | IPD FOR SINAMICS SINGLE MOTOR MODULE INPUT: 600V/DC OUT: 3PH 400V, 490A (SF) | 6SL3320-1TE35-0AA0 | PC | 9
40 | 1000446908 | IPD FOR SINAMICS SINGLE MOTOR MODULE INPUT: DC 675-1080V OUTPUT: 3AC 0-690V, 410A RATED POWER: 400KW CHASSIS (LHPR) | 6SL3352-3AG34-1AA0 | PC | 1
41 | 1000349039 | IPD FOR SINAMICS SINGLE MOTOR MODULES INPUT: 600 V DC OUTPUT: 3-PH 400 V, 310 A (Billet Skid & Trim Shear) | 6SL3352-3AE33-1AA0 | PC | 3
42 | 1000333131 | IPD FOR SINAMICS S120 SMART LINE MODULE 3AC 380-480V, 50/60HZ OUTPUT: DC 510 - 650V, 1430A RATED POWER (INFEED-6,7A,7B) | 6SL3330-6TE41-7AA3 | PC | 3
43 | 1000348719 | IPD FOR SINAMICS SINGLE MOTOR MODULES INPUT: 600 V DC OUTPUT: 3-PH 400 V, 260 A (Chopping Shear) | 6SL3352-3AE32-6AA0 | PC | 3
44 | 1000333127 | IPD FOR SINAMICS S120 SMART LINE MODULE 3AC 500-690V, 50/60HZ OUTPUT: DC 675-930V, 1700A RATED POWER: 1400KW (INFEED-1,2,3,5) | 6SL 3330-6TG41-7AA0 | PC | 14
45 | 1000445484 | IPD FOR SINAMICS SINGLE MOTOR MODULE INPUT: DC 675-1080V OUTPUT: 3AC 0-690V, 910A RATED POWER: 900KW CHASSIS | 6SL3352-3AG38-8AA0 | PC | 2
46 | 1000405043 | IPD FOR SINAMICS CARD;330A,1080VAC | 6SL3352-3AG33-3AA0 | PC | 1
47 | 1000252724 | POWER SUPPLY,PN:6SL39556HX001AA0 | 6SL39556HX001AA0 | PC | 2
49 | 1000255469 | DRIVE-CLICQ CABLE 5.0m | 6SL3060-4AA50-0AA0 | PC | 9
50 | 1000234763 | DRIVE-CLICQ CABLE 2.8m | 6SL3060-4AJ20-0AA0 | PC | 14
51 |  |  |  | PC
D1 | 1000189376 | SINAMICS S120 SMART LINE MODULE 3AC 500-690V, 50/60HZ OUTPUT: DC 675-930V, 1700A RATED POWER: 1400KW MLFB NO- 6SL 3330-6TG41-7AA0 |  | PC | 1 old | Drive Section#01,02,03,05 (Installed Qty-12)
D2 | 1000189367 | SINAMICS S120 SMART LINE MODULE 3AC 380-480V, 50/60HZ OUTPUT: DC 510 - 650V, 1430A RATED POWER: 800KW MLFB NO- 6SL3330-6TE41-7AA0 |  | PC | 0 | Drive Section#06,7A (Installed Qty-5)
D3 | 1000357097 | SINAMICS S120 SMART LINE MODULE 3AC 380-480V, 50/60HZ OUTPUT: DC 510 - 650V, 1430A RATED POWER: 800KW MLFB NO- 6SL3330-6TE41-7AA3 |  | PC | 1 | Drive Section#7B (Installed Qty-1)
D4 | 1000227968 | SINAMICS SINGLE MOTOR MODULE INPUT: DC 675-1080V OUTPUT: 3AC 0-690V, 1270A RATED POWER: 1200KW MLFB NO- 6SL3320-1TG41-3AA0 |  | PC | 1Old + 1New | Stand#03,09,11,13 (Installed Qty-4)
D5 | 1000420157 | SINAMICS SINGLE MOTOR MODULE INPUT: DC 675-1080V OUTPUT: 3AC 0-690V, 1025A RATED POWER: 1000KW CHASSIS UNIT MLFB NO- 6SL3320-1TG41-0AA0 |  | PC | 1 | RSM#01,02 (Installed Qty-6)
D6 | 1000189381 | SINAMICS SINGLE MOTOR MODULE INPUT: DC 675-1080V OUTPUT: 3AC 0-690V, 910A RATED POWER: 900KW CHASSIS UNIT MLFB NO- 6SL3320-1TG38-8AA0 |  | PC | 1 | PFM#01,02 (Installed Qty-4)
D7 | 1000189380 | SINAMICS SINGLE MOTOR MODULE INPUT: DC 675-1080V OUTPUT: 3AC 0-690V, 735A RATED POWER: 710KW CHASSIS UNIT |  | PC | 1 New +1 Old | Stand#04,05,06,07,08,10,12,14 (Installed Qty-8)
D8 | 1000189379 | SINAMICS SINGLE MOTOR MODULE INPUT: DC 675-1080V OUTPUT: 3AC 0-690V, 575A RATED POWER: 560KW CHASSIS UNIT MLFB NO- 6SL3320-1TG35-8AA0 |  | PC | 1 Old | Stand#01,02.Shear#01,02 (Installed Qty-4)
D9 | 1000189375 | SINAMICS SINGLE MOTOR MODULE INPUT: 600V/DC OUT: 3PH 400V,490A MLFB NO- 6SL3320-1TE35-0AA0 |  | PC | 1 | Stelmor Fan (Installed Qty-12)
D10 | 1000189378 | SINAMICS SINGLE MOTOR MODULE INPUT: DC 675-1080V OUTPUT: 3AC 0-690V, 410A RATED POWER: 400KW CHASSIS UNIT MLFB NO-6SL3320-1TG34-1AA0 |  | PC | 1 | LHPR (Installed Qty-1)
D10A | 1000323909 | DRIVE;BM4145-ST0-00300-03, 125A MAKE- BAUMULLER |  | PC | 1OLD | CNC MACHINE
D10B |  | DRIVE;BM4143-SI20-21343-0308-1, 66A, MAKE- BAUMULLER |  | PC | 1OLD | CNC MACHINE
D11 | 1000189377 | SINAMICS SINGLE MOTOR MODULE INPUT: DC 675-1080V OUTPUT: 3AC 0-690V, 330A RATED POWER: 315KW CHASSIS UNIT MLFB NO- 6SL3320-1TG33-3AA0 |  | PC | 1 | Laying Head (Installed Qty-1)
D12 | 1000189374 | SINAMICS SINGLE MOTOR MODULES INPUT: 600 V DC OUTPUT: 3-PH 400 V, 310 A MLFB NO- 6SL3320-1TE33-1AA0 |  | PC | 1 | Billet Skid,Trim Shear (Installed Qty-2)
D13 | 1000189373 | SINAMICS SINGLE MOTOR MODULES INPUT: 600 V DC OUTPUT: 3-PH 400V, 260 A MLFB NO- 6SL3320-1TE32-6AA0 |  | PC | 1 | Chopping Shear (Installed Qty-1)
D13A |  | AC Commutator Choke-1P6SL3000-OEH41-4AAO |  | PC | 1 | Drive reactor,CH area
D14 | 1000189372 | SINAMICS SINGLE MOTOR MODULE INPUT: 600 V DC OUTPUT: 3AC 400 V, 132 A MLFB NO- 6SL3120-1TE31-3AA3 |  | PC | 1New + 1Old | RTW#01,02,RTE#01,02, NTM_PR,Coil Plate (Installed Qty-6)
D15 | 1000189371 | SINAMICS SINGLE MOTOR MODULE INPUT: 600 V DC OUTPUT: 3AC 400 V, 60 A MLFB NO- 6SL3120-1TE26-0AA3 |  | PC | 1 | RTI#01.02,03 (Installed Qty-3)
D16 | 1000189370 | SINAMICS SINGLE MOTOR MODULE INPUT: 600 V DC OUTPUT: 3AC 400 V, 45 A MLFB NO- 6SL3120-1TE24-5AA3 |  | PC | 1 | BPR,PR#02 (Installed Qty-2)
D17 | 1000189369 | SINAMICS SINGLE MOTOR MODULE INPUT: 600V/DC OUT: 3AC 400V/30A MLFB NO-6SL3120-1TE23-0AA3 |  | PC | 2New+2Old | Stelmor Conveyor (Installed Qty-22)
D18 | 1000189368 | SINAMICS SINGLE MOTOR MODULE INPUT: 600 V DC OUTPUT: 3AC 400 V, 18 A MLFB NO-6SL3120-1TE21-8AA3 |  | PC | 1 | Ring Distributor (Installed Qty-1)
D19 |  | TEST BENCH DRIVE OF ECR (S-120 SLM, 5KW,8.3A,380V/600VDC |  | PC | 1 | TEST BENCH
D20 | 1000333133 | CIM Card MLFB No.- 6SL3350-6TK00-0EA0 |  | PC | 3
D21 |  | Surge Arrester for S-120 Drive (DEHN Guard DG1000FM) |  | PC | 15
D22 |  | Surge Arrester for S-120 Drive (DEHN Guard DGS600FM) |  | PC | 4
D23 | 1000366495 | CAPACITOR;14MF,PN:SC1265 |  | PC | 80 | Drive Blower Fan
D24 | 1000149673 | SFU FOR DRIVE |  | PC | 2
D25 | 1000555623 | DRIVE; ATV71HD11N4, VVVF, 415 V |  | PC | 1 | CRT/DRT Drive
D26 | 1000195950 | SOFT STARTER FOR CA FAN |  | PC | 1 | CA FAN
D27 |  |  |  | PC
D28 |  |  |  | PC
D29 | 1000570527 | DRIVE;VFD G120,1.5 KW,480VAC |  | PC | 2
D30 | 1000185353 | ENCODER,HOLLOW SHAFT,TYPE:HOG10DN1024I, MAKE-BAUMULLER |  | PC | 1NEW+1OLD | NTM
D31 | 1000322392 | ENCODER, MAKE-BAUMULLER |  | PC | 1NEW+1OLD | LAYING HEAD
D32 | 1000209532 | ENCODER,PN:861900220 1024 Make- LEINE & LINDE |  | PC | 3New +4 OLD
D33 |  | ENCODER,XHI-803 |  | PC | 1NEW
D34 |  |  |  | PC
D41 |  | FAN,WALL MOUNTED |  | PC | 4
1 | 1000357758 | AI MODULE; 8CH, 6ES74311KF200AB0,24VDC |  | PC | 3
1A | 1000180279 | AO MODULE, 8CH, PN:6ES7-432-1HF00-0AB0 |  | PC | 3
2 | 1000195795 | DO MODULE, 16CH |  | PC | 3
3 | 1000180281 | DO MODULE, 32CH,PN:6ES7-422-1BL00-0AA0 |  | PC | 5
4 | 1000180282 | DI MODULE , 32CH, PN:6ES7-421-1BL01-0AA0 |  | PC | 3
5 | 1000195794 | DI MODULE, 16CH |  | PC | 2
6 | 1000180284 | IM MODULE (RECEIVER) -NOT IN USE |  | PC | 1
7 | 1000180285 | IM MODULE (TRANSMITTER) -NOT IN USE |  | PC | 1
8 | 1000357441 | FM MODULE;FM-450, 24VDC,PN:6ES7450-1AP00-0AE0 |  | PC | 1
9 | 1000097311 | CP 443-1EX30B MODULE; 24VDC,PN:6ES7450-1AP00-0AE0 |  | PC | 1
10 | 1000331303 | CP 443-5 MODULE; 24VDC |  | PC | 3
11 |  | CP-443-1EX20 6GK7443-1EX20-0XE0 |  | PC | 1
12 | 1000180286 | POWER MODULE PS407 |  | PC | 2
13 | 1000195793 | CPU 416-2DP |  | PC | 1
14 | 1000144013 | FRONT CONNECTOR,S7-400,6ES74921AL000AA0 |  | PC | 5
15 | 1000346006 | CPU 313C-2DP;PN:6ES7313-6CF03-0AB0 |  | PC | 1
16 | 1000197900 | CPU 317-2, PN:6ES7-317-2EK13-0AB0 |  | PC | 1
16A | 1000368322 | CPU 317-2, PN:6ES7-317-2EK14-0AB0 |  | PC | 1
17 | 1000224145 | CPU 2AH14 |  | PC | 2
18 | 1000309578 | CP343-1 MODULE;6GK73431CX10-0XE0 (RSM_CC) |  | PC | 2
19 | 1000177464 | OLM MODULE;6GK73431CX10-0XE0 |  | PC | 1
20 | 1000057834 | DP/DP COUPLER MODULE,MM:6ES7158-0AD01-0XA0 |  | PC | 3
21 | 1000147013 | POSITION INPUT MODULE,SIGNAL,MM:6ES7338-4BC01-0AB0 |  | PC | 2
22 | 1000272424 | FM COUNTER MODULE;FM-350-2, 6ES73502AH010AE0 |  | PC | 6
23 | 1000200425 | ALLEN BRADLEY PLC (LAYING HEAD) |  | PC | 2
24 | 1000238802 | DIGITAL INPUT OUTPUT MODULE,PN:6ED1 055-1NB10-0BA0 |  | PC | 1
25 |  | ESM_Electrical Switch Module |  | PC | 2
26 | 1000267014 | SMPS,I/P-230VAC,O/P-12V , 2A |  | PC | 1
27 | 1000234750 | DVP-14SS MODULE,PWR SUPPLY,100-240VAC,MM:DVPPS02 |  | PC | 2
28 | 1000195843 | BUS MODULE 2*40, ET200M,PN:6ES71957HB000XA0 |  | PC | 10
29 | 1000195991 | BUS MODULE 1*80, I/O MODULE,PN:6ES71957HC000XA0 |  | PC | 7
30 | 1000195842 | BUS MODULE PS/IM 153, 6ES71957HA000XA0 |  | PC | 9
31 |  | Memory Cart (Different Types) |  | PC | NA
32 |  | BATTERY for CPU 6ES7971-0BA00 |  | PC | 17
33 | 1000198101 | ANYBUS GATEWAY-CANOPEN TO PROFIBUS,24VDC |  | PC | 1
34 |  | MAIN PLC WITH RACK (Furnace) |  | PC | 1
35 |  |  |  | PC
1 | 1000181818 | SITOP POWER SUPPLY, 6EP1-336-2BA00 , 24VDC,20A |  | PC | 1
2 | 1000014382 | SITOP POWER SUPPLY, 6EP1-336-3BA00, 24VDC,20A |  | PC | 2
3 | 1000014380 | SITOP POWER SUPPLY, 6EP1-334-3BA00, 24VDC,10A |  | PC | 5
4 | 1000014383 | SITOP POWER SUPPLY, 6EP1-334-2AA01, 24VDC, A |  | PC | 2
5 | 1000445441 | SITOP POWER SUPPLY, 6EP1-334-2BA20, 24VDC,10A |  | PC | 5
6 | 1000195844 | SITOP POWER SUPPLY, 6EP1-333-3BA10, 24VDC,5A |  | PC | 4
7 | 1000197906 | SITOP POWER SUPPLY, 6EP1-333-2AA01, 24VDC,5A |  | PC | 6
8 | 1000138637 | POWER SUPPLY MODULE,PS 307,6ES7-307-1KA02-0AA0,24V,10A |  | PC | 3
9 |  | POWER SUPPLY MODULE,PS 307,6ES7-307-1EA00-0AA0,24V,5A |  | PC | 2
10 | 1000138637 | POWER SUPPLY MODULE,PS 307,6ES7-307-1KA01-0AA0,24V,10A |  | PC | 1
11 |  | POWER SUPPLY MODULE,PS 307,6ES7-307-1BA00-0AA0,24V,2A |  | PC | 1
12 | 1000014629 | DI MODULE, 32CH, 6ES7-321-1BL00-0AA0 |  | PC | 8
13 | 1000050427 | DI MODULE, 16CH, 6ES7-321-1BH02-0AA0 |  | PC | 9
14 | 1000014630 | DO MODULE, 32CH, 6ES7322-1BL00-OAAO |  | PC | 3
15 | 1000097683 | DO MODULE, 16CH, 6ES7-322-1BH01-0AA0 |  | PC | 8
16 | 1000097685 | DI MODULE, 16CH X REL.AC230V, 6ES7 322 1HH01 OAAO |  | PC | 5
17 | 1000097684 | D0 MODULE ,8CH, 6ES7-322-1BF01-0AA0 |  | PC | 2
18 | 1000197904 | DO MODULE, 8CH X REL.AC230V, 6ES7-322-1HF01-0AA0 |  | PC | 5
19 | 1000180276 | AI MODULE, 8CH X 13BIT, 6ES7-331-1KF02-0AB0 |  | PC | 12
20 | 1000431291 | AI MODULE, 8CH, THERMOCOUPLE, 6ES7-331-7PF11-0AB0 |  | PC | 8
20A | 1000098236/ 1000254774 | AI MODULE, 8CH, 6ES7-331-7KF02-0AB0 |  | PC | 6
20B | 1000180276 | AI MODULE, 8CH, 6ES7-331-1KF01-0AB0 |  | PC | 1
21 | 1000098237 | AO MODULE, 4CH X 12BIT, 6ES7-332-5HD01-0AB0 |  | PC | 11
22 | 1000195993 | AO MODULE, 8CH X 12BIT, 6ES7-332-5HF00-0AB0 |  | PC | 5
23 |  | INTERFACE MODULE (IM), 6ES7-153-2BA10-0XB0 |  | PC | 6
24 | 1000195735 | INTERFACE MODULE (IM), 6ES7-153-2BA02-0XB0 |  | PC | 2
24A | 1000057833 | INTERFACE MODULE (IM), 6ES7-153-1AA03-0XB0 |  | PC | 11
25 | 1000195940 | FRONT CONNECTOR FOR CARD, 6ES7-392-1AM00-0AA0 |  | PC | 6
25A | 1000014485 | FRONT CONNECTOR FOR CARD, 6ES7-392-1AJ00-0AA0 |  | PC | 1
26 |  | OPTICAL FIBER CONNECTOR, DFCUSTXMPR09,0.9MM |  | PC | 10
27 |  | OPTICAL FIBER ADAPTOR, DFADSTTYPXPM |  | PC | 10
28 | 1000195799 | OBT, PN:6GK1500-3AA10 |  | PC | 6
29 | 1000253135 | REPEATER, RS485, 6ES7-972-0AA02-0XA0 |  | PC | 4
30 | 1000253137 | PROFIBUS CONNECTOR,MM:6ES7972-0BB52-0XA0 |  | PC | 13
31 | 1000195733 | PROFIBUS CONNECTOR,MM:6ES7972-0BA12-0XA0 |  | PC | 8
32 | 1000261210 | PROFIBUS CONNECTOR,MM:6ES7972-0BB12-0XA0 |  | PC | 42
33 | 1000180290 | PROFIBUS CONNECTOR,,MM:6ES7972-0BB41-0XA0 |  | PC | 17
34 | 1000207410 | RELAY BOARD,8CH,1CO,24VDC,5A, PC24D08-COB |  | PC | 9
35 | 1000198102 | MOTION CONTROLLER-TRIM SHEAR, ABB,24VDC,50W |  | PC | 1
36 | 1000509087 | LAN CARD,NETWRK; PN:PRO 1000 PT |  | PC | 3
37 | 1000097349 | RAIL,530MM F/PLC, 6ES7-390-1AF30-0AA0 |  | PC | 1
37A | 1000097306 | RACK,MAIN PLC, 18 SLOT, 6ES7-400-1TA01-0AA0 |  | PC | 1
38 | 1000253139 | RAIL,830MM F/PLC, 6ES7-390-1AJ30-0AA0 |  | PC | 1
39 | 1000196121 | RAIL,530MM, F/PLC, 6ES7-195-1GF30-0XA0 |  | PC | 2
40 | 1000253138 | RAIL,480MM F/PLC,MM:6ES7390-1AE80-0AA0 |  | PC | 1
1 |  | PRESSURE GUAGE ,3 INCH, 0-10 BAR |  | PC | 2
2 | 1000498223 | SENSOR;220/240VAC,MN:UVS 10D1G1 |  | PC | 0
3 |  | Timer use in hardware panel |  | PC | 2
4 | 1000048247 | LENS,VARIFOCAL,1/3IN,5-50MM |  | PC | 4
5 | 1000183279 | CAMERA,MM:HCC-690P F/CCTV |  | PC | 4
6 | 1000198106 | SWITCH,PROXIMITY,30MM,PN:II5829 |  | PC | 6
7 | 1000211028 | PED SENSOR,PHOTO ELECTRIC,MM:O4H500 |  | PC | 6
7A | 1000198111 | PED SENSOR, PHOTO SENSOR,PN:OA0106 |  | PC | 5
8 | 1000267014 | SMPS,I/P-230VAC,50HZ,O/P-12V DC/2A |  | PC | 2
9 | 1000214151 | VALVE,SOLENOID,5/2WAY,PN:5811170050 |  | PC | 6
10 | 1000007736 | CONTROLLER,3STEP,JOYSTICK,5-0-5POS,10A |  | PC | 1
11 | 1000181007 | FLOW SWITCH INDICATOR,PN:08.01.01.01/05 |  | PC | 6
12 | 1000182313 | Part of Limit SWITCH,LIMIT,240V AC,IEC60947-5-1 |  | PC | 3
12A |  | LIMIT SWITCH,3SE5112-0YA00
12B |  | LIVER PART,LIMIT SWITCH, SIEMENS |  | PC | 10
13 | 1000588026 | CAMERA,DIG;PN:FRTPACCAMECCDVT1100 |  | PC | 1
14 | 1000138051 | SMPS,2.5A,24VDC |  | PC | 1
15 | 1000458352 | TIMER;ON DELAY,230VAC,PN:H30TG |  | PC | 1
16 | 1000213394 | LASER SENSOR,PN:01D100 |  | PC | 5
17 | 1000214187 | CONNECTOR,MM:DS2508 |  | PC | 4
18 |  | OXYGEN ANALYSER CALIBRATION KIT |  | PC | 1
19 | 1000398020 | SENSOR;MN:WTB27-3P2411S18 |  | PC | 23
20 | 1000168849 | FUSE,160A,DIN 000,TYPE:170M1569D |  | PC | 5
21 | 1000591651 | TRANSMITTER,PRS;PN:7MF4033IBA101AA6Z (CA FAN PT) |  | PC | 1
22 | 1000513713 | DAMPER POSITION XMTR;POSITION,SIPART PS2- (MAKE-SIEMENS)- PG & MAIN DAMPER |  | PC | 3PC +2 OLD
23 | 1000013595 | DAMPER POSITIONER,FFB,MM:TZIDC 120,MAKE-ABB |  | PC | 3
24 | 1000520166 | LEVEL TRANSMITTER,RADR;MN:SITRANS LR250 |  | PC | 1
25 | 1000011919 | POSITIONER,PNEUMATIC,MM:830WP MAKE- FOBSMARSHAL |  | PC | 1
25A |  | HFO LINE SHUTOFF VALVE,2INCH,10BAR, 0001593, MAKE- BURKET
26 | 1000198124 | CONNECTOR,PN:BKS-S 32M-00,F/TRANSDUCER |  | PC | 7
27 | 1000214144 | MAGNET F/TRANSDUCER,MM:BTL5F28141S |  | PC | 3
28 | 1000214078 | BAR;175MM,PN:BTL2GS100175A |  | PC | 9
29 | 1000259382 | FUSE,1000A,700-200KA,TYPE:170M6714 |  | PC | 7
30 | 1000390259 | MPCB;6-10A,3P,PN:GV2ME14+GVAD1010 |  | PC | 23
31 | 1000303835 | VALVE;PN:VAS120R/NWSR |  | PC | 4
32 | 1000323969 | MCB;1P, 80A,PN:A9N18357 |  | PC | 2
33 | 1000207571 | PRESSURE SWITCH,500MBAR,MM:DG500U-3 (FOR GAS) |  | PC
34 |  | CT, 400/5,VA5, CLASS-15,TYPE-R |  | PC | 4
35 |  | CT, 600/5,VA5, CLASS-15,TYPE-R |  | PC | 3
37 |  | CT, 50/5,VA5, CLASS-15,TYPE-R |  | PC | 3
38 |  | BURKET PNEUMATIC SHUTOFF VALVE,10BAR, 424103 |  | PC | 3
40 |  | TRANSFORMER 115-200V/27VDC,4A,VT-NE30-20 MAKE- REXROTH |  | PC | 3
42 | 1000191024 | FLOMAC FLOWMETERN RATE TOTALISER, MODEL- RT141 D0FMW/PULSE,MM:RT121D0MM |  | PC | 6
44 | 1000484191 | TRANSMITTER,PRS;PN:7MF4033-1DA10-2AC6-Z, SIEMENS |  | PC | 3
45 | 1000220376 | MCCB,400A,3P,50KA,MM:LV432693 |  | PC | 1
46 |  | SCHNEIDER NO-NC CONTACT, GVAE11 |  | PC | 16
47 |  | BCU 460-5/1W1GB |  | PC | 2
48 |  | TEMP CONTROLLER (FUJI ELECTRIC),TYPE-PXF9AEY2-1V100 |  | PC | 1
49 |  | PT 7MF03000-1JE01-5AM2Z,SITRANS P320,6 BAR ,MAKE- SIEMENS |  | PC | 1
49A | 1000511965 | DPT, FLOW TRANSMITTER,DP;1-20MBAR,4-20MA, SIEMENS |  |  | 1
50 | 1000484191 | DPT,TRANSMITTER,PRS;PN:7MF4033-1DA10-2AC6-Z, MAKE- SIEMENS |  | PC | 2
51 | 1000303845 | DPT ,FLOW TANSMITTER;PN:7MF4433-1EA02-1AA6-Z,6-600 mbar, MAKE- SIEMENS |  | PC | 3
52 | 1000330408 | TEMP TRANSMITTER;0-100C,22-32VDC,PN:ETS 1700 MAKE- HYDAC |  | PC | 1
53 |  | AUX CONTACT, 3VL9400-2AJ20 |  | PC
54 |  | PROXY FULL THREAD ,IIS226 |  | PC | 8
55 | 1000318576 | VALVE,SOL;MN:SMC SY5140-5DZ-Q |  | PC | 1
56 | 1000310404 | LEVEL SWITCH,LVL;LR7000,18-30 VDC, IFM |  | PC | 2
57 | 1000294666 | GLASS;PYREX/BOROSILLICATE,DIA. 82.5,CAMERA |  | PC | 10
57A | 1000572315 | METER,FLOW;AL,PN:OM050A001-511-R5 |  | PC | 4
58 |  | RTD,PT-100, 450MM |  | PC | 10
59 | 1000182358 | RTD,2 WIRE,PT-100, 300MM, SS F/HEAT TRACER |  | PC | 10
60 |  | RTD, PT-100, 200MM |  | PC | 3
61 | 1000245448 | THERMOCOUPLE, K TYPE,SIMPLEX,3MM,2000MM |  | PC | 6
62 |  | THERMOCOUPLE,T TYPE |  | PC | 1
63 | 1000012229 | PRESSURE TRANSMITTER,PRESS,0-10BAR, SIEMENS |  | PC | 4
64 |  |  |  | PC
65 |  |  |  | PC
1 | 1000251164 | HRC FUSE, 690V,900A, PN:3NE3340-8 |  | PC | 7
2 | 1000358178 | HRC FUSE, 690V,850A, PN:3NE1448-2 |  | PC | 3
3 | 1000359192 | HRC FUSE, 690V,710A, PN:3NE3337-8 |  | PC | 6
4 | 1000261373 | HRC FUSE, 690V,630A, PN:3NE3336 |  | PC | 8
5 | 1000251165 | HRC FUSE, 690V,560A, PN:3NE3335 |  | PC | 6
6 | 1000251166 | HRC FUSE, 690V,500A, PN:3NE3334-0B |  | PC | 6
7 | 1000298682 | HRC FUSE, 690V,450A, PN:3NE3233 |  | PC | 6
8 | 1000251163 | HRC FUSE, 690V,400A, PN:3NE3232-0B |  | PC | 6
9 | 1000004717 | HRC FUSE, 690V,315A, PN:3NE1230-0 |  | PC | 4
10 | 1000227801 | HRC FUSE, 690V,200A, PN:3NE1225-0 |  | PC | 26
11 | 1000343851 | HRC FUSE, 690V,160A, PN:3NE1224-0 |  | PC | 1
12 | 1000227803 | HRC FUSE, 690V,125A, PN:3NE1022-0 |  | PC | 9
13 | 1000216238 | HRC FUSE, 690V,100A, PN:3NA7830-0RC |  | PC | 70
14 | 1000227800 | HRC FUSE, 690V,80A, PN:3NE1820-0 |  | PC | 6
15 | 1000266740 | FUSE,SEMICONDUCTOR,BS88,690V,80A,PN:80ET |  | PC | 15
16 | 1000227798 | HRC FUSE, 690V,63A, PN:3NA7822-6 |  | PC | 32
17 | 1000098309 | HRC FUSE, 415V,50A, PN:3NA3820-7Y |  | PC | 22
18 | 1000164681 | FUSE LINK,415V, 32A, PN:3NWTIA32 |  | PC | 10
19 | 1000310005 | HRC FUSE, 20A, PN:1700263 |  | PC | 6
20 | 1000004526 | FUSE LINK, 6A, PN: 3NWNS6 |  | PC | 20
21 | 1000358191 | HRC FUSE, 6A ,PN:3NA7801-6 |  | PC | 16
22 | 1000252950 | TUBULAR FUSE,415V, 6A, PN:3NW6301-1 |  | PC | 30
23 | 1000359865 | TUBULAR FUSE, 6A,PN:ATDR8 |  | PC | 5
24 | 1000193277 | FUSE LINK, 415V,4A, PN:3NWNS4 |  | PC | 9
25 | 1000236331 | HRC FUSE, 2A, PN: 3NA7802-6 |  | PC | 18
26 | 1000193275 | HBC FUSE LINK, 2A, PN: 3NWNS2 |  | PC | 50
27 |  | PN:10506144EREV-A |  | PC | 3
28 | 1000359865 | GLASS FUSE, 6A, PN:ATDR8 |  | PC | 50
29 | 1000236180 | SWITCH FUSE UNIT, 160A, PN: 3NP4070-0CH01 |  | PC | 3
30 | 1000253133 | DISCONNECTOR,100A, PN:3NP4010-0CH01 |  | PC | 1
31 | 1000260584 | SWITCH,DISCONNECT,SITOR,690V,50A, PN:3NC1091 |  | PC | 2
32 | 1000004524 | FUSE HOLDER, 32A, PN: 3NW32 |  | PC | 20
33 | 1000260584 | SWITCH,DISCONNECT,SITOR,690V,PN:3NC1091 |  | PC | 3
34 | 1000376124 | PULLER,FUSE, PN:3NX1013 |  | PC | 3
35 | 1000004405 | FUSE BASE,1P, PN:3NH3030,160A |  | PC | 4
36 | 1000098433 | FUSE BASE,1P,GR-3, 360A,690V, PN:3NH3430 |  | PC | 5
R-1 | 1000384531 | FL SWITCH SFN 4 TX/FX ST |  | PC | 1
R-2 | 1000459933 | IB IL 24 DO 16 PAC |  | PC | 2
R-3 | 1000459937 | IB IL 24 DI 16 PAC |  | PC | 1
R-4 | 1000461183 | MODULE, 24 VDC, PN;2878722 |  | PC | 1
R-5 | 1000461358 | SERVO MOTOR CONNECTOR |  | PC | 1
R-6 | 1000461350 | A082500010 RELAY |  | PC | 1
R-7 |  | PROFI BUSS CONNECTOR ;PN NO 2744348 |  | PC | 1
R-8 | 1000461354 | GLASS SIGHT ; PN;B.ODAC.1001.204 |  | PC | 6
R-9 | 1000461353 | GLASS SIGHT ; PN;B.ODAC.1001.104 |  | PC | 3
R-10 | 1000461181 | IB IL TEMP 2 RTD -PAC |  | PC | 1
R-11 | 1000459936 | IL ETH BK DI8 DO4 |  | PC | 2
R-12 | 1000461348 | DIODE 24VDC,PN;B.N2.540.0160 |  | PC | 4
R-13 | 100046180 | DOOR LIMIT SWITCH (IB IL DOR LV SET PEC) |  | PC | 1
R-14 |  | ROD GAUGE SHUTTER MOTOR PCB |  | PC | 1 REMOVED
R-15 | 1000461184 | MODULE, ILC150 ETH 24VDC,PN2985330 |  | PC | 1
R-16 | 1000461185 | SMPS |  | PC | 1
R-17 |  | ROD GAUGE CALIBRATION KIT |  | PC | 1
R-17A | 1000634701 | ENCODER ERN 430 1024 80S12-03 |  | PC | 0
R-18 | 1000461349 | HEAD;PN;ODAC.1001.66730 |  | Set | I OLD+1 NEW
R-19 | 1000467450 | BELT |  | PC | 2
R-20 | 1000461344 | CARD;PN;N6.SP.092.A1 |  | PC | 1
R-21 | 1000461346 | DRIVE PN; A15 104 5080 |  | PC | 1
R-22 | 1000532641 | CONVERTER,SIG;PN;CI6J/ENCI.610.03001 |  | PC | 1 REMOVED
R-22A | 1000461358 | MOTOR,SERVO;PN:A15 101 1250 |  | PC | 1 Old
R-23 | 1000364043 | A/C;KG-4266,PANEL,R134A,230VAC,270MM |  | PC | 2 Removed
1 |  | LVDT, TRANSDUCER,PN: (Strep Compactor) |  | PC | 1 Removed
2 | 1000209092 | LVDT, TRANSDUCER,PN:BTL5-E10-M1750-P-S32 (KICKOFF) |  | PC | 3 Removed +1 New
3 | 1000214080 | LVDT, TRANDUCER,PN:BTL5-E10-M0450-P-S32 (WALKING BEAM TRANSVERSE) |  | PC | 3 Removed +1 New
4 | 1000209091 | LVDT, TRANSDUCER,PN:BTL5-E10-M1250-P-S32 (WALKING BEAM UP-DOWN) |  | PC | 4 New
1 | 1000008935 | MCB,1A,1 POLE |  | PC | 48
1A | 1000281052 | MCB;1A,3P ,5SX43017RC,230V,10KA,18MM |  | PC | 2
2 | 1000008924 | MCB,2A,1 POLE |  | PC | 50
3 | 1000008944 | MCB,2A,2 POLE#, Siemens |  | PC | 30
4 | 1000280147 | MCB;4A,3P,5SX43047RC,230V, Siemens |  | PC | 2
5 | 1000199541 | MCB,1P,6A |  | PC | 13
6 | 1000008946 | MCB,06A,2POLE, Siemens/ABB |  | PC | 86
7 | 1000008960 | MCB,6A,3POLE, Siemens |  | PC | 8
8 | 1000254209 | MCB,10A,1P,CAT:5SX41048RC, Siemens |  | PC | 100
9 | 1000254207 | MCB,10A,3P,CAT:5SX43108RC |  | PC | 22
10 | 1000008961 | MCB,16A,3POLE# |  | PC | 24
11 | 1000008973 | MCB,16A,4POLE# |  | PC | 10
12 | 1000254188 | MCB,20A,1P,CAT:5SX41208RC, Siemens |  | PC | 39
13 | 1000174644 | MCB,20A,3P |  | PC | 30
14 | 1000254205 | MCB,25A,2P,CAT:5SX42258RC |  | PC | 3
15 | 1000254190 | MCB,32A,1P,CAT:5SX41328RC |  | PC | 12
16 | 1000008963 | MCB,32A,3POLE |  | PC | 48
17 | 1000254189 | MCB,40A,1P,CAT:5SJ41408RC, Siemens |  | PC | 16
18 | 1000254208 | MCB,40A,3P,CAT:5SJ43408RC, Siemens |  | PC | 13
19 |  | MCB,50A,2P, Siemens |  | PC | 8
20 | 1000254162 | MCB,63A,1P,10KA,MM:5SX41637RC |  | PC | 31
21 | 1000008976 | MCB,63A,4P |  | PC | 1
22 | 1000323969 | MCB,80A,1P |  | PC | 22
23 | 1000280158 | MCB; 80A,3P, 5SP43807RC,10KA,Siemens |  | PC | 3
1 | 1000127027 | BEARING,BALL,6040 M - SKF |  | PC | 3
2 | 1000197274 | BEARING,BALL,DES:6040 M C3 SKF |  | PC | 1
3 | 1000023227 | BEARING,BALL,6232 M C3 SKF |  | PC | 2
4 | 1000258509 | BEARING,BALL,DES:6038MC3 SKF |  | PC | 2
5 | 1000215455 | BEARING,BALL,DEEP GROOVE,DES:6330C3 SKF |  | PC | 1
6 | 1000216662 | BEARING,BALL,DES:NU1040ML SKF |  | PC | 1
7 | 1000215458 | BEARING,CYL ROLLER,DES:NU1032ML SKF |  | PC | 2
8 | 1000215456 | BEARING,CYL ROLLER,DES:NU1038ML SKF |  | PC | 2
9 | 1000023014 | BEARING,BALL,6228 C3# SKF |  | PC | 2
10 | 1000217027 | BEARING,BALL,DES:6226C3VL0241 SKF |  | PC | 4
11 | 1000022937 | BEARING,BALL,6226 C3 SKF |  | PC | 7
12 | 1000216590 | BEARING,BALL,DEEP GROOVE,6224C3VL0241 SKF |  | PC | 3
13 | 1000023228 | BEARING,BALL,6224 C3 SKF |  | PC | 2
14 | 1000023254 | BEARING,BALL,6224 SKF |  | PC | 2
15 | 1000022967 | BEARING,BALL,6322 C3 SKF |  | PC | 2
16 | 1000217026 | BEARING,BALL,DES:6220 C3 VL0241 SKF |  | PC | 1
17 | 1000023012 | BEARING,BALL,6220 SKF |  | PC | 3
18 | 1000291510 | BEARING,BALL;Dsgn:6220 C3 SKF |  | PC | 4
19 | 1000188093 | BEARING,BALL,DES:6319 M/C3 VL0241 SKF |  | PC | 3
20 | 1000023035 | BEARING,BALL,6319 SKF |  | PC | 3
21 | 1000022965 | BEARING,BALL,6319 C3# SKF |  | PC | 2
22 | 1000271059 | BEARING,BALL,DEEP GROOVE,6318 C3 VL0241 SKF |  | PC | 2
23 | 1000022964 | BEARING,BALL,6318 C3# SKF |  | PC | 8
24 | 1000284195 | BEARING,DES:6317 M SKF |  | PC | 2
25 | 1000023033 | BEARING,BALL,6317 SKF |  | PC | 4
26 |  | BEARING,BALL,6317 C3 SKF |  | PC | 7
26A | 1000023064 | BEARING,BALL,6316 C3# FAG |  | PC | 2
28 | 1000022962 | BEARING,BALL,6315 C3# SKF |  | PC | 7
28A | 1000022962 | BEARING,BALL,6315 C3# FAG |  | PC | 2
29 | 1000023030 | BEARING,BALL,6314 SKF |  | PC | 2
30 | 1000022961 | BEARING,BALL,6314 C3# SKF |  | PC | 3
31 | 1000023029 | BEARING,BALL,6313 SKF |  | PC | 22
32 | 1000201387 | BEARING,BALL,6313 ZZ C3 SKF |  | PC | 25
33 | 1000023195 | BEARING,BALL,6313 C3# SKF |  | PC | 5
34 | 1000023028 | BEARING,BALL,6312 SKF |  | PC | 5
35 | 1000023120 | BEARING,BALL,6312 C3 SKF |  | PC | 26
36 | 1000023062 | BEARING,BALL,63102Z SKF |  | PC | 21
37 | 1000221767 | BEARING,BALL,6310Z,PN:10329265 SKF |  | PC | 10
38 | 1000022958 | BEARING,BALL,6310 ZZ C3# SKF |  | PC | 5
39 | 1000022955 | BEARING,BALL,6310 C3# SKF |  | PC | 4
40 | 1000023103 | BEARING,BALL,6309 C3 SKF |  | PC | 2
41 | 1000022954 | BEARING,BALL,6309 2Z C3# SKF |  | PC | 4
41A | 1000022953 | BEARING,BALL,6309 2Z# FAG |  | PC | 2
43 | 1000022951 | BEARING,BALL,6308 2Z C3# SKF |  | PC | 8
44 | 1000022948 | BEARING,BALL,6307 2Z C3# SKF |  | PC | 23
45 | 1000022947 | BEARING,BALL,63062Z# SKF |  | PC | 26
46 | 1000022946 | BEARING,BALL,63052Z# SKF |  | PC | 55
47 |  | BEARING,BALL,6305 2Z C3# SKF |  | PC | 8
48 | 1000023021 | BEARING,BALL,6305 SKF |  | PC | 3
49 | 1000023127 | BEARING,BALL,6304 2Z SKF |  | PC | 10
50 | 1000251839 | BEARING,BALL,6303-2Z-C3 SKF |  | PC | 23
51 | 1000023531 | BEARING,ROLLER,NU217 ECM SKF |  | PC | 3
51A | 1000247943 | BEARING,ROLLER,DES:N312ECM SKF |  | PC | 1
51B | 1000247942 | BEARING,ROLLER,DES:N312ECJ/C3 SKF |  | PC | 2
52 | 1000247946 | BEARING,ROLLER,DES:NU218ECM OR ECJ SKF |  | PC | 4
53 | 1000247944 | BEARING,ROLLER,DES:NU218 ECJ/C3 SKF |  | PC | 4
54 | 1000247945 | BEARING,ROLLER,DES:NU218 ECM SKF |  | PC | 5
55 | 1000216661 | BEARING,BALL,DEEP GROOVE,6218 C3 VL0241 SKF |  | PC | 2
56 | 1000216661 | BEARING,BALL,DEEP GROOVE,6218C3VL0241 M SKF |  | PC | 3
57 | 1000291505 | BEARING,BALL;CAT:6218C3 SKF |  | PC | 8
58 | 1000422265 | BEARING;BALL: 6218-M C3 SKF |  | PC | 4
59 |  | BEARING;BALL: J20AA C3 FAG |  | PC | 5
60 | 1000022936 | BEARING,BALL,6217 C3 SKF |  | PC | 5
61 | 1000376896 | BEARING;BALL,Dsgn:6216-2Z-C3 SKF |  | PC | 6
62 | 1000376320 | BEARING;DSGN:6216.C4.J20AA,SLG,80,140 SKF |  | PC | 4
63 | 1000022932 | BEARING,BALL,6213 SKF |  | PC | 6
63A | 1000022932 | BEARING,BALL,6213 C3# SKF |  | PC | 2
64 | 1000247482 | BEARING,BALL,6213-2RS1 SKF |  | PC | 2
65 | 1000346814 | BEARING;PN:6213 ZZ C3 SKF |  | PC | 7
66 | 1000092590 | BEARING,BALL,6209-ZZ SKF |  | PC | 28
67 | 1000022926 | BEARING,BALL,6209 2Z C3# (FAG-12 + SKF-10) |  | PC | 22
68 | 1000022923 | BEARING,BALL,Dsgn:6208 2Z SKF |  | PC | 47
|  | BEARING,BALL,6208 C3# SKF |  | PC | 2
70 | 1000022924 | BEARING,BALL,6208 2Z C3# SKF |  | PC | 1
71 | 1000532804 | BEARING,BALL;Dsgn:6208 ZZ C4 SKF |  | PC | 16
72 | 1000023199 | BEARING,BALL,6207 2Z C3 SKF |  | PC | 2
73 | 1000022920 | BEARING,BALL,6206 2Z# SKF |  | PC | 33
74 | 1000208911 | BEARING,BALL,6205 2Z C3 SKF |  | PC | 26
75 | 1000022915 | BEARING,BALL,6004 2Z C3# TIMKEN |  | PC | 20
76 | 1000023196 | BEARING,BALL,6203 2Z C3 SKF |  | PC | 63
77 | 1000208912 | BEARING,BALL,6202 2Z C3 SKF |  | PC | 36
78 | 1000023052 | BEARING,BALL,6201 2Z# SKF |  | PC | 40
79 | 1000358154 | BEARING;PN:6007 2Z/C3 SKF |  | PC | 0
80 | 1000022981 | BEARING,BALL,6001 SKF |  | PC | 4
80 |  | BEARING,BALL,6002 2Z C3 SKF |  | PC | 50
1 | 1000225360 | SWITCH,LIMIT,240VAC,1NO+1NC,XCK-S (JAI BAJAJI) |  | PC | 12
2 | 1000182313 | LIMIT SWITCH,240V AC,IEC60947-5-1, PLUNGER TYPE (SIEMENS) |  | PC | 47
3 | 1000202980 | LIMIT SWITCH,10A,PN:3SE3100-1E |  | PC | 8
4 |  | LIMIT SWITCH WITH PUSH ROD |  | PC | 14
5 |  | LIMIT SWITCH LEVER ,10A,PN:3SE3100-1E (SIEMENS) |  | PC | 9
6 |  | NUT & BOLT FOR SENSORS 50MM X 4MM |  | PC | 50
7 |  | TANK LEVEL SWITCH (PUNE TECHROL) |  | PC | 14
8 |  | TANK LEVEL SWITCH (USED) |  | PC | 10
9 | 1000230427 | PRESSURE SWITCH (HYD) |  | PC | 8
10 | 1000230427 | DIFFERENTIAL PRESS SWITCH (LUB) |  | PC | 5
11 | 1000177915 | DIFFERENTIAL PRESS SWITCH, 0.5 - 10BAR (HYD) |  | PC | 4
12 | 1000225437 | DIFFERENTIAL PRESS SWITCH,MM:VD5D.0/L24 |  | PC | 6
13 | 1000149657 | SWITCH,HYDRAULIC PRESSURE (400BAR) |  | PC | 3
14 | 1000318442 | ROLL MOUNTING CART PRESSURE SWITCH |  | PC | 2
15 | 1000299968 | VD CONTROLLER;MM3010DI13DR08AI02 |  | PC | 4
16 | 1000539453 | ANNOUNCIATOR |  | PC | 1
17 |  | CONNECTOR, 3PIN |  | PC | 30
18 |  | CONNECTOR, 4PIN |  | PC | 14
19 |  | SOLENOID COIL WITH 3PIN CONNECTOR 24V, 4.8W |  | PC | 13
20 |  | RUBBER SEAL FOR CONNECTOR |  | PC | 20
21 | 1000248338 | COIL,SOL,24V DC,MM:347B04 |  | PC | 22
22 |  | MODULE SPOOL VALVE (WATER BOX) |  | PC | 2
23 |  | OIL LEVEL INDICATOR SEGMENT |  | PC | 9
24 |  | SIEMENS TEMP TRANSMITTER |  | PC | 2
25 |  | ROSEMOIUNT TEMP TRANSMITTER, 4 WIRE TYPE |  | PC | 4
26 |  | ROSEMOIUNT TEMP TRANSMITTER, 3 WIRE TYPE |  | PC | 3
27 | 1000352451 | ROSEMOIUNT PRESSURE TRANSMITTER, 0 - 25 BAR |  | PC | 2
28 |  | Pressure Transmitter (0-800 PSI),4-20mA, Make-ABB |  | PC | 1
28A |  | ABB TEMP TRANSMITTER, 0 - 200 C |  | PC | 1
29 | 1000238263 | COIL, SOLENOID,24VDC,1.25A,MM:M-3SED6CK-1X350CG24N9K4 |  | PC | 11
30 | 1000084653 | COIL,SOLENOID,24VDC,1.45A,MM:019793 K425 |  | PC | 21
31 | 1000568853 | CONNECTOR;PROXIMITY SENSOR,PN:E11293 |  | PC | 30
32 | 1000011919 | POSITIONER,PNEUMATIC,MM:830WP (Make-Fobs Marshal) |  | PC | 3
33 | 1000192410 | POSITIONER;4-20mA,MM:DVC6020 F/VALVE (Make-Fisher) |  | PC | 1
34 |  | PT & FT Fixing Clamp |  | PC | 3
35 | 1000234762 | CONTROLLER STREIGHTING MACHINE PANEL,24VDC,MM:TP02G-AS1 |  | PC | 1
36 |  | DC VALVE W517C79 (MAKE-ROSS) |  | PC | 3
37 |  | DC VALVE (MAKE-ROSS) |  | PC | 3
38 | 1000494549 | CONNECTOR;MALE,PN:268B94 |  | PC | 26
39 | 1000494581 | CONNECTOR;FEMALE,PN:267B94 |  | PC | 25
41 | 1000316989 | DRIVE;380-480V,PN:SKC3400300, MAKE- NORTEK-FOR VD |  | PC | 1
42 | 1000316986 | DRIVE;380-480V,PN:SKB3400150, MAKE- NORTEK-FOR VD |  | PC | 1
43 | 1000266804 | SIEMENS POSITIONER DISPLAY (NOT IN USE) |  | PC | 1
44 | 1000316861 | TEMPERATURE SWITCH; PN:2059031 MAKE- NORTEK FOR VD |  | PC | 1
45 | 1000316858 | FLOW SWITCH; PN:2039501 MAKE- NORTEK -FOR VD |  | PC | 3
46 | 1000316873 | VALVE,SOL;EBB 6212,PN:EBB 6212 MAKE- NORTEK -FOR VD |  | PC | 1
47 |  | SOLENOID COIL -FOR VD |  | PC | 2
48 | 1000230428 | SWITCH,FLOW,110°C,MM:UM3K-015-GM70, MAKE- NORTEK-FOR VD |  | PC | 1
48A | 1000316872 | CONTROL;FLOW,PN:12A |  | PC | 1
49 | 1000293989 | LEVEL SWITCH;PN:NT 62-MS-S6 |  | PC | 1
50 | 1000316870 | LEVEL SWITCH;ELECTRICAL,PN:4604102/100 -FOR VD |  | PC | 1
51 | 1000316868 | VALVE,SOL;ESM 8614,PN:ESM 8614 -FOR VD |  | PC | 1
52 | 1000484947 | THERMOCOUPLE;PT100,3,PN:TR10-D -FOR VD |  | PC | 1
53 |  | TEMPERATURE SENSOR (LENGTH-500MM)- FOR VD |  | PC | 1
54 | 1000317180 | LEVEL SWITCH;PN:4604115_260 -FOR VD |  | PC | 1
55 | 1000316855 | VALVE,SOL;VS 8414,PN:VS 8414 -FOR VD |  | PC | 1
56 |  | LEVEL SWITCH (90 Deg Bend type) -FOR VD |  | PC | 1
57 |  | PRESSURE GUAGE (0 - 2.5 BAR) |  | PC | 1
58 | 1000311872 | FLOAT LEVEL SWITCH |  | PC | 1
59 | 1000476326 | TRANSFORMER FOR ENERPAC |  | PC | 1
60 |  | Water Flowmeter Controller (Make- Rosemount) |  | PC | 1
61 |  | Water Flowmeter (Make- Rosemount) |  | PC | 1
63 | 1000526894 | DC VALVE;10BAR,PN:W7076A3332 | Given to Mech | PC | 0
64 | 1000583963 | POSITIONER VALVE,CTRL;CS.A216,WCC,SS,CL150,6IN,FE (Cable Celler) |  | PC | 1
65 | 1000583970 | POSITIONER VALVE,CTRL;CS,A216,WCC,SS,CL150,4IN,FE (Cable Celler) |  | PC | 1
66 | 1000584019 | POSITIONER VALVE,CTRL;CS,A216WCC,SS,CL150,3IN,FE (Cable Celler) |  | PC | 1
PC
1 | 1000047839 | LOUDSPEAKER,MM:LBD 8347+LBD 8308 |  | PC | 2
2 | 1000009776 | SIREN,ELECTRONIC,220VAC,RANGE-1KM |  | PC | 3
2A | 1000009792 | SIREN, ELECTRONICS |  | PC | 5
3 | 1000047838 | AMPLIFIER,EXTENSION,MM:LBD8924/01 |  | PC | 3
4 | 1000047813 | JUNCTION BOX,MM:LBD8930 JL |  | PC | 7
5 | 1000047855 | LOUDSPEAKER,MM:LBD 8363/MR (Small) |  | PC | 12
6 | 1000356913 | SPEAKER UNIT (PART OF LOUDSPEAKER);PN:LBD 8308M |  | PC | 4
7 | 1000047845 | DIAPHRAGM F/DRIVER UNIT,MM:LBD8308 30W |  | PC | 18
8 | 1000047847 | CAPSULE,EARPICE,MM:LBD 8904 |  | PC | 30
9 | 1000047931 | CAPSULE,MOUTHPIECE,MM:LBD 8904 |  | PC | 10
11 | 1000047929 | HANDSET,COMPLETE,MM:LBD 8904 |  | PC | 8
12 | 1000047930 | CRADLE SWITCH,MM:LBD 8904 |  | PC | 5
13 | 1000047936 | TRANSISTOR UNIT,MM:LBD 8904 |  | PC | 10
14 | 1000047934 | DIODE UNIT,MM:LBD 8904 |  | PC | 10
15 |  | CLAMP |  | PC | 1
16 |  | PRESET, 100 OHM |  | PC | 7
17 | 1000257092 | PRESET F/AMPLIFIER,MM:LBD8924/01 |  | PC | 20
18 |  | PRESET, 1 KOHM |  | PC | 8
19 |  | PRESET, 10KOHM |  | PC | 6
20 | 1000047932 | PRESET UNIT,V&H,MM:LBD 8904 |  | PC | 10
21 | 1000047937 | RELAY;24V/02 POLE,MM:LBD 8904 |  | PC | 1
22 | 1000047930 | CRADLE SWITCH,MM:LBD 8904 |  | PC | 5
23 |  | PRESET, 200 OHM |  | PC | 5
24 |  | TRANSITOR |  | PC | 10
25 | 1000047933 | CAPACITOR UNIT,MM:LBD 8904 |  | PC | 5
26 | 1000047851 | MICRO SWITCH,MM:LBD 8904 |  | PC | 2
27 |  | RELAY Q3F-1Z |  | PC | 2
28 | 1000047851 | MICRO SWITCH |  | PC | 10
29 |  | TRANSISTOR |  | PC | 5
30 |  | RESISTANCE |  | PC | 5
31 |  | GLAND |  | PC | 3
32 |  | SPEAKER REPAIRING CARD |  | PC | 1
33 | 1000047857 | MAIN PCB DESKTOP, MM:LBD 8904 |  | PC | 9
34 | 1000047856 | TRANSFORMER- AMPLIFIER,MM:LBD 8904 |  | PC | 30
35 |  | DESKTOP TRANSFORMER |  | PC | 30
36 |  | TRANSFORMER,HANDSET (SMALL SIZE) |  | PC | 30
36A | 1000257096 | FUSE,1.6A F/AMPLIFIER,LBD8924/01 |  | PC | 20
37 | 1000047822 | DESKTOP STATION,TYPE:LBD/8904 |  | PC | 2
38 | 1000047825 | PUBLIC ADDRESS SYSTEM,MM:LBD-8921/01 | NEW | PC | 0
1 | 1000413817 | SWITCH,PRS;PN:3397160,F/AC PANEL |  | PC | 4
2 | 1000411181 | VALVE;EXPANSION,PN:3397334 |  | PC | 3
3 | 1000413836 | DRYER;PN:3397048,F/AC PANEL |  | PC | 1
4 | 1000413832 | VALVE;PN:3397050,F/AC PANEL |  | PC | 4
5 | 1000413833 | COIL,CONDNSR;PN:3397614,F/AC PANEL |  | PC | 1
6 | 1000413837 | COIL,EVAPORATOR;PN:3397613,F/AC PANEL |  | PC | 1
7 |  | CAPACITOR 2 Micro F |  | PC | 3
8 | 1000303193 | PIPE NRV, PN: 3397522, F/AC PANEL |  | PC | 4
9 | 1000413818 | SENSOR,TEMP;PN:3397537,F/AC PANEL |  | PC | 1
10 | 1000411182 | SENSOR,TEMP;PN:3397534,F/COOLING UNIT |  | PC | 1
11 |  | TEMPERATURE SENSOR |  | PC | 4
11A | 1000431318 | PROBE;PN:52125-1 |  | PC | 0
12 | 1000186448 | BRAZING ROD,COPPER,1/8IN |  | KG | 1
13 | 1000274724 | CARD,DISPLAY,PN:3396282 F/PANEL,338310 |  | PC | 1
13A | 1000303117 | DISPLAY;PN:3399008 (632414) |  | PC | 0
13B | 1000431326 | CONTROLLER;DWYER TS2-010,PN:52100-1 |  | PC | 0
14 | 1000184566 | AEROSOL CAN,LPG |  | PC | 1
15 | 1000413816 | THERMOSTAT;PN:3397000,F/AC PANEL |  | PC | 0
16 | 1000411189 | FILTER;DRIER,PN:3397058,F/COOLING UNIT |  | PC | 1
17 | 1000413823 | DRYER;PN:3397015,F/AC PANEL |  | PC | 0
18 | 1000303113 | EVAPORATOR;PN:3399008 (632408) |  | PC | 0
19 | 1000303173 | FILTER;PN:3399008 (632413) |  | PC | 0
20 | 1000303171 | CONDENSER;PN:3399008 (642772) |  | PC | 0
21 | 1000310505 | FAN;CONDENSOR,3396007,F/PANEL |  | PC | 3
22 | 1000413827 | EVAPORATOR;PN:3396005,F/AC PANEL |  | PC | 0
23 | 1000303113 | EVAPORATOR;PN:3399008 (632408) |  | PC | 0
24 | 1000303124 | COMPRESSOR;PN:3399008 (632369) |  | PC | 0
25 | 1000413821 | VALVE;PN:3397049,F/AC PANEL |  | PC | 0
26 | 1000465858 | REFRIGERANT;R134A,500GRMS |  | PC | 0
1 | 1000219509 | AUX CONTACTOR,110VAC,2NO+2NC,PN:N22E ,ABB |  | PC | 23
2 | 1000005660 | AUX CONTACTOR,110VAC,4NO,PN:N40E,ABB |  | PC | 25
3 | 1000005081 | AUX CONTACTOR,110VAC,4NO,PN:3TH30-40-0AF0,SIEMENS |  | PC | 11
4 | 1000141414 | AUX CONTACTOR,230 VAC,3NO+1NC,PN:3TH30-31-0AP0, SIEMENS |  | PC | 6
5 | 1000278536 | AUX CONTACTOR,230V,4NO,PN:3TH30-40-0AU0,SIEMENS |  | PC | 2
6 | 1000219510 | AUX CONTACTOR,24VDC,2NO+2NC,PN:NF22E,ABB |  | PC | 10
7 | 1000254215 | AUX CONTACTOR,24VDC,4NO,PN:3TH30-40-0BB4,SIEMENS |  | PC | 4
8 | 1000005151 | POWER CONTACTOR,110VAC,45A,PN:A26-30-10,ABB |  | PC | 64
9 | 1000005152 | POWER CONTACTOR,110VAC,55A,PN:A30-30-10,ABB |  | PC | 6
10 | 1000005153 | POWER CONTACTOR,110VAC,60A,PN:A40-30-10,ABB |  | PC | 11
11 |  | POWER CONTACTOR,110VAC,27A,PN:A12-30-10,ABB |  | PC | 10
12 | 1000061361 | POWER CONTACTOR,220VAC,27A,PN:A12-30-10,ABB |  | PC | 3
13 | 1000254211 | POWER CONTACTOR,110VAC,9A,PN:3RT2016-AF01, SIEMENS |  | PC | 35
14 | 1000261869 | POWER CONTACTOR,220VAC,9A,2NO+2NC,PN:3RT1015-1AP04-3MA0, SIEMENS |  | PC | 8
14A | 1000149632 | POWER CONTACTOR,220V,20A,PN:3TF31-10-0BM4 |  | PC | 1
15 |  | POWER CONTACTOR,110VAC,25A,1NO+1NC,PN:3RT2026-1AG20, SIEMENS |  | PC | 8
16 | 1000254212 | POWER CONTACTOR,110VAC,25A,PN:3RT1026-1AG2, SIEMENS |  | PC | 1
17 |  | POWER CONTACTOR,24V,95A,HAVELLS |  | PC | 3
18 | 1000219513 | POWER CONTACTOR,110VAC,115A,PN:A63-30-00,ABB |  | PC | 5
19 | 1000005155 | POWER CONTACTOR,110VAC,125A,PN:A75-30-00,ABB |  | PC | 4
20 | 1000376508 | POWER CONTACTOR,220VAC,125A,PN:LC1 D95M7,SCHNEIDER |  | PC | 1
21 | 1000062224 | POWER CONTACTOR,110VAC,160A,PN:A110-30-11,ABB |  | PC | 0
22 | 1000260569 | POWER CONTACTOR,220VAC,175A,2NO+2NC, 3RT14766AP36 |  | PC | 8
23 | 1000092620 | POWER CONTACTOR,220VAC,200A,PN:LC1 F115, SCHNEIDER |  | PC | 2
24 | 1000598187 | POWER CONTACTOR,220VAC,250A,PN:LC1D150P7, SCHNEIDER |  | PC | 1
25 | 1000453647 | POWER CONTACTOR,110VAC,250A,PN:A145-30-11,ABB |  | PC | 4
26 | 1000005157 | POWER CONTACTOR,110VAC,275A,PN:A185-30-11,ABB |  | PC | 5
27 | 1000219514 | POWER CONTACTOR,110VAC,350A,PN:A210-30-11,ABB |  | PC | 6
28 | 1000475080 | POWER CONTACTOR,110VAC,400A,PN:A260-30-11,ABB |  | PC | 2
29 | 1000005158 | POWER CONTACTOR,110VAC,500A,PN:A300-30-11,ABB |  | PC | 2
30 | 1000005162 | POWER CONTACTOR,110V-250V,600A,PN:AF400-30-11, ABB |  | PC | 8
1 | 1000425194 | KIT,CONTACT;A210-30-11,PN:ZL210 |  | PC | 2
2 | 1000425193 | KIT,CONTACT;A185-30-11,PN:ZL185 |  | PC | 6
3 | 1000425198 | KIT,CONTACT;A110-30-11,PN:ZL110 |  | PC | 9
4 | 1000300214 | CONTACT;ZL 75,PN:1 SBN 164 103 R1000 |  | PC | 1
5 | 1000425195 | KIT,CONTACT;A63-30-00,PN:ZL63 |  | PC | 6
6 | 1000425197 | KIT,CONTACT;AF400-30-11,PN:ZL400 |  | PC | 0
7 | 1000425199 | KIT,CONTACT;A145-30-11,PN:ZL145 |  | PC | 0
8 | 1000425196 | KIT,CONTACT;A75-30-00,PN:ZL75 |  | PC | 0
1 | 1000473210 | LIGHT;LED,PN:LWV12-70-CDL, 70W |  | PC | 24 |  | 70W
2 | 1000413800 | LIGHT,LED,WELL GLASS, 40W |  | PC | 16 |  | 40W
3 | 1000461482 | LIGHT;LED, FLOOD LIGHT, 90W |  | PC | 29 |  | 90W
4 | 1000508021 | LIGHT;LED HIGHBAY, 150W |  | PC | 100 |  | 150W
5 | 1000603950 | LIGHT;LED HIGHBAY,PN:911401873981, 150W (Light weight) |  | PC | 0 |  | 150W
6 | 1000522143 | LAMP;LED, 37W |  | PC | 16 |  | 37W
7 | 1000482981 | LIGHT;LED,FLOOD LIGHT, 200W |  | PC | 2 |  | 200W
8 | 1000555866 | LIGHT;LED,MN:LFLPI-400CDL/60, 400W |  | PC | 5 |  | 400W
9 |  |  |  | PC
10 |  |  |  | PC
1 |  | Cable 16C x 1.5 sq. mm |  |  | 425 |  |  | Furnace Store | Cu, Arm
2 |  | Cable 12C x 1.5 sq.mn |  |  | 997 |  |  | Furnace Store | Cu, Arm
3 |  | Cable 12C x 1.5 sq. mm |  |  | 500 |  |  | Furnace Store | Cu, Arm
4 |  | Cable 12C x 1.5 sq. mm |  |  | 520 |  |  | Furnace Store | Cu, Arm
5 |  | Cable 12C x 1 sq. mm |  |  | 500 |  |  | Cable celler | Cu, Arm
6 |  | Cable 12C x 2.5 sq.mn |  |  | 253 |  |  | Cable celler | Cu, Arm
7 |  | Cable 8C,4 Pair x 0.5 sq.mm |  |  | 600 |  |  | Furnace Store | Cu (Inst)
8 |  | Cable 8C,4 Pair x 1 sq.mm |  |  | 25 |  |  | Cable celler | Cu (Inst)
9 |  | Cable 7C x 1.5 sq. mm |  |  | 500 |  |  | Furnace Store | Cu, Arm
10 |  | Cable 7C x 1.5 sq. mm |  |  | 993 |  |  | Electrical Store | Cu, Arm
11 |  | Cable 7C x 1.5 sq. mm |  |  | 602 |  |  | Electrical Store | Cu, N-Arm
12 |  | Cable 7C x 1.5 sq. mm |  |  | 98 |  |  | Cable celler | Cu, Arm
13 |  | Cable 7C x 2.5 sq. mm |  |  | 450 |  |  | Cable celler | Cu, Arm
14 |  | Cable 7C x 2.5 sq. mm |  |  | 200 |  |  | Cable celler | Cu, lapp
16 |  | Cable 6C x 1.5 sq. mm |  |  | 20 |  |  | Electrical Store | Cu, N-Arm
17 |  | Cable 4C x 2.5 sq. mm |  |  | 912 |  |  | Cable celler | Cu, Arm
18 |  | Cable 4C x 2.5 sq. mm |  |  | 25 |  |  | Cable celler | Cu, Arm
19 |  | Cable 3C x 2.5 sq. mm |  |  | 20 |  |  | Electrical Store | Cu, Flexible
20 |  | Cable 2C x 1.5 sq. mm |  |  | 184 |  |  | Cable celler | Cu, Arm
21 |  | Cable 2C x 10 sq. mm |  |  | 490 |  |  | Furnace Store | Cu, Arm
22 |  | Cable 1C x 16sq. mm |  |  | 300 |  |  | Electrical Store | Cu, Flexble
23 |  | Cable 1C x 16 sq. mm |  |  | 50 |  |  | Electrical Store | Cu, Flexible
24 |  | Cable 4C x 16 sq. mm |  |  | 186 |  |  | Furnace Store | Cu, Arm
25 |  | Cable 4C x 35 sq. mm |  |  | 58 |  |  | Cable celler | Al, Arm
26 |  | Cable 3.5C x 35sq. mm |  |  | 496 |  |  | Electrical Store | Cu, Arm
27 |  | Cable 3C x 35 sq. mm |  |  | 295 |  |  | Cable celler | Al, Arm
28 |  | Cable 3C x 95 sq. mm |  |  | 94 |  |  | Cable celler | Al, Arm
29 |  | Cable 3C x 95 sq. mm |  |  | 110 |  |  | Cable celler | Al,Arm
30 |  | Cable 3C x 120 sq. mm |  |  | 70 |  |  | Cable celler | Cu, Flexb
31 |  | Cable 3C x 150 sq. mm |  |  | 45 |  |  | Cable celler | Al, Arm
32 |  | Cable 3.5C x 240 sq. mm |  |  | 175 |  |  | Cable celler | Al, Arm
33 |  | Cable 3C x 240 sq. mm |  |  | 144 |  |  | Cable celler | Al, Arm
34 |  | Cable 3C x 300 sq. mm |  |  | 70 |  |  | Cable celler | Al, Arm
35 |  | Obtical fiber cable |  |  | 800 |  |  | Cable celler | N-Arm
36 |  | Obtical fiber cable |  |  | 500 |  |  | ECR-1 | N-Arm
37 |  | Obtical fiber cable |  |  | 600 |  |  | ECR-1 | N-Arm
38 |  | Co-Axial Cable (Digital Camera),1C |  |  | 1220 |  |  | ECR-1 | CU
39 |  | Lap cable 7C x 1.5 Sq.mm |  |  | 30 |  |  | ECR-1 | Cu, N-Arm
40 |  | Profibus cable |  |  | 600 |  |  | ECR-1 | Cu
41 | 1000306971 | Instrument Skinned cable |  |  | 600 |  |  | ECR-1 | Cu
42 | 1000306971 | Instrument Skinned cable |  |  | 520 |  |  | ECR-1 | Cu
43 | 1000306971 | Instrument Skinned cable (old) |  |  | 150 |  |  | ECR-1 | Cu
44 |  | Instrument Skinned cable,Pair Cable, 8Pair |  |  | 20+20 |  |  | ECR-1 | Cu
45 |  | Heat Proof Cable (for Furnace) |  |  | 15 |  |  | ECR-1 | Cu
46
47
48
49
1 |  | OIL SEAL,RUBBER,17X30X7MM# |  |  | 58
2 | 1000024774 | OIL SEAL,RUBBER,30X47X7MM# |  |  | 25
3 |  | OIL SEAL,RBR,35X54X7MM |  |  | 8
4 | 1000174985 | OIL SEAL,RBR,35X52X7MM |  |  | 137
5 | 1000064428 | OIL SEAL,35X47X7MM |  |  | 26
6 |  | OIL SEAL,RUBBER,35X52X5MM# |  |  | 50
7 | 1000024980 | OIL SEAL,RUBBER,40X52X7MM |  |  | 31
8 | 1000024795 | OIL SEAL,RUBBER,40X55X7MM# |  |  | 16
9 |  | OIL SEAL,RUBBER,45X52X7MM# |  |  | 20
10 | 1000203716 | OIL SEAL,RBR,45X65X8MM | DRT-CRT |  | 12
11 | 1000228906 | OIL SEAL,PU,65X85X10MM |  |  | 49
12 | 1000024879 | OIL SEAL,RUBBER,80X100X10MM# |  |  | 43
13 | 1000250908 | OIL SEAL,PN:106178 |  |  | 0
14 | 1000250922 | OIL SEAL,PN:13228811 |  |  | 0
15 | 1000250921 | OIL SEAL,PN:106062 |  |  | 0
16 | 1000250909 | OIL SEAL,PN:106232 |  |  | 0
1 |  | DC Gland, 12 mm |  | PC | 200
2 |  | PVC Gland,16 mm |  | PC | 30
3 |  | PVC Gland,12 mm |  | PC | 60
4 |  | DC Gland, 16 mm |  | PC | 180
5 |  | SC Gland, 16 mm |  | PC | 120
6 |  | DC Gland, 19 mm |  | PC | 220
7 | 1000195360 | DC Gland, 22 mm |  | PC | 0
8 |  | DC Gland, 25 mm |  | PC | 80
9 | 1000195412 | DC Gland, 32 mm |  | PC | 0
10 | 1000537943 | DC Gland, 35 mm |  | PC | 0
11 |  | DC Gland, 38 mm |  | PC | 80
12 |  | DC Gland, 50 mm |  | PC | 70
13 |  | DC Gland, 63 mm |  | PC | 4